| LM005-25 |  | Cooked Meat Medium w/ Glucose, Hemin & Vitamin K. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Formula |  |  |  |  |  |  |  |
| Ingredients: |  |  | gms/lit. |  |  |  |  |
| Meat heart, solids# 98.00 Proteose peptone 20.00 Dextrose 2.00 Sodium chloride 5.00 Glucose 5.00 Yeast extract 5.00 Hemin 0.005 Vitamin K 0.001 #- Equivalent to Beef heart, solids |  |  |  |  |  |  |  |
| Final pH (at 25°C) 7.2±0.2 |  |  |  |  |  |  |  |
| Directions: |  |  |  |  |  |  |  |
| Label the ready to use bottle (LM005). Inoculate the sample and incubate at specified temperature and time. |  |  |  |  |  |  |  |
| Principle: |  |  |  |  |  |  |  |
| Meat heart granules, which provides amino acids and nutrients. It also contains glutathione, a reducing substance which permits the growth of obligate anaerobes. The sulfhydryl groups which impart reducing effect are more available in denatured protein and hence the cooked meat is added in the medium. The added supplements glucose, yeast extract, hemin and vitamin K act as growth enhancers for anaerobic microorganisms. Blackening and disintegration of the meat particles indicate proteolysis. |  |  |  |  |  |  |  |
| (I) QC Tests |  |  |  |  |  |  |  |
|  | Color: |  | Medium amber coloured supernatant over insoluble granules. |  |  |  |  |
|  | Appearance: |  | Sterile clear Cooked Meat w/ Glucose, Hemin & Vitamin K Medium in vials |  |  |  |  |
| (II)Sterility test |  |  | Passes release criteria |  |  |  |  |
| (III)Q.C. Test Microbiological |  |  |  |  |  |  |  |
|  | Cultural characteristics observed after incubation at 35-37°C for 40-48 hours under anaerobic conditions. |  |  |  |  |  |  |
|  | MICROORGANISM (ATCC) |  | Growth (under aNAerobic conditions) |  |  | Growth (under aerobic conditions) |  |
|  | Streptococcus pneumoniae 6303 |  | - |  |  | Luxuriant |  |
|  | Enterococcus faecalis 29212 |  | - |  |  | Luxuriant |  |
|  | Clostridium botulinum 25763 |  | Luxuriant |  |  | - |  |
|  | Clostridium perfringens12924 |  | Luxuriant |  |  | - |  |
|  | Clostridium sporogenes 11437 |  | Luxuriant |  |  | - |  |
| Precautions : |  |  | 1. In Vitro diagnostic use only. |  |  |  |  |
|  |  |  | 2. Read the label before opening the container |  |  |  |  |
| Limitations : |  |  | Since the nutritional requirements of organisms vary, some strains may be encountered that fail to grow or grow poorly on this medium. |  |  |  |  |
| Use: |  |  | For cultivation of aerobes and anaerobes, especially pathogenic Clostridia and also for the maintenance of stock cultures. |  |  |  |  |
| Storage: |  |  | Store between 2-8°C. Use before expiry date on the label. |  |  |  |  |
| Packing: |  |  | 10ml X 25 vials |  |  |  |  |

Disclaimer:

User must ensure suitability of the product(s) in their application prior to use. Products conform solely to the information contained in this and other related BIOMARKLABORATORIES publications.

The information contained in this publication is based on our in-house studies and market performance and is to the best of our knowledge true and accurate. BIOMARK LABORATORIES reserves the right to make changes to specifications and information related to the products at any time. Products are not intended for human or animal or therapeutic use but for laboratory, diagnostic, research or further manufacturing use only, unless otherwise specified. Statements contained herein should not be considered as a warranty of any kind, expressed or implied, and no liability is accepted for infringement of any patents.